Open questions for ToT2

May be answered individually or in groups

2.1.1. System comparison

- Based on which factors does asset management allow you to compare water systems?

- Which other factors, apart from the factors included in asset management - are relevant to compare alternative hardware setups?

- Name three other factors - apart from financial performance - that influence the sustainability of water infrastructure.

- What is a cumulative cashflow?

2.1.2. Asset managment

- Which factors determine the service level of water infrastructure?

- Which cost categories of a water system in the operational phase should be planned for?

- Which three types of maintenance exist and when can they be applied in relation to 'Risk' and 'change of failure'?

- What are the three steps in making an asset management plan?

- Which possible uses does an asset management plan have in the design phase?

- Which possible uses does an asset management plan have in the operational phase?

2.2. Domestic water supply

- Describe the key differences between self-supply and communal water supply and which one you think is more common for domestic water use.

- Give some examples of self-supply in Gaza Province

- Give some examples of communal water supply in Gaza Province.

- Can you give specific examples of systems related to Limpopo (sand) river utilization?

- If you have a group of 20 households somewhere located in Gaza Province, describe the type of systems for water supply that are likely to be in place.

- When would you recommend a system to be inside the river and when would you choose a system on the banks?

- The water table is at 9 meters depth, select a pump for self-supply when the borehole is on the banks of the river; 1 for drinking water, 1 for productive use. Describe how your system will look like and why you have chosen this option.